URANIUM CORPORATION OF INDIA LIMITED     Phone : (0657)2730122

2730222

(A Government of India Enterprise)                    2730353

P.O.Jaduguda Mines,Jharkhand-832102      Fax  :(0657) 2730322

Email: : jadpur@ucil.gov.in          (0657) 2731332

Limited Enquiry

To,---------------------------+-----------------------------------

!   QUOTE THIS REFERENCE ON THE COVER

1. I 72                        !

2. S 442                       !   Enquiry No.       3/PE132047/8

----------------------------+---------------------------------

Dear Sir,                      !     Date              26/09/2013

Kindly submit your q!otation made out as per instruction

overleaf for the supply of stor!s detDue Date ow. The quotation13

should be posted to the "Purcha!e Department" at the above address

to reach before the due date.  !

----+--------------------------------------------------+--------

Sl.No. !         DESCRIPTION OF STORES                    ! QUANTITY

----+--------------------------------------------------+--------

1   !   Motor circuit breaker, GV2-M Model, Thermal    !3 Number

!   magnetic with push button control / economy,   !

!   breaking capacity at 415V, 50Hz, 100KA,        !

!   Thermal protection adjustment, Range: 0.63-    !

!   1.0, Cat Ref.: GV2ME05, Make: Schneider        !

!   Electric ()                                    !

2   !   Power contactor-D Model, 3 pole, AC, rated     !6 Number

!   operational current (AC1): 80A, auxiliary      !

!   contacts: 1 No + 1 Nc, Coil voltage: 110V,     !

!   AC, 50Hz, Cat Ref.: LCID50AF7, Make:           !

!   Schneider Electric ()                          !

3   !   Power contactor, D-Model, 3 pole, AC, rated    !6 Number

!   operation current (AC1):25A, auxiliary         !

!   contacts: 1No + 1Nc, coil voltage: 24V, AC,    !

!   50/60 Hz, Cat Ref.: LCID12B7, Make:            !

!   Schneider Electric ()                          !

4   !   Control Relay, D-Model, 10Amps-AC15, AC        !4 Number

Control, 5No + 0Nc, Coil voltage: 24C AC,

Cat Ref.: CAD50B7, Make: Schneider Electric

()

5       Thermal Overload Relay for use with LCID        4 Number

50AF7, Thermal protection adjustment range:

48-65A, LR-D Model(direct mounting), Cat

Ref.: LRD3359, Make: Schneider Electric ()

6       Control Relays, K Model, 10 Amps - DC13, DC     2 Number

Control: 4No + 0Nc, Coil Voltage: 24V DC,

Cat Ref.: CA3KN40BD, Make: Scheider Electric

()

Sl.No.           DESCRIPTION OF STORES                      QUANTITY

----------------------------------------------------------------

Note : Parties not registered with UCIL and

interested in supply are required to submit their

credential showing their status as manufacturer/

Distributors/ Dealer with supporting documents for

registration in UCIL.

---------------------------------------------------------------

Yours faithfully

For URANIUM CORPORATION OF INDIA LIMITED

Enclosures                                   S. ADHIKARY

Purchase Officer

INSTRUCTIONS

1   Please quote your rate in figure and word without overwriting /

cutting and submit your sealed offer in duplicate for consideration duly

super scribed with tender reference no., due date and bidder name and

address.

2  FAX/ e-MAIL offer will not be accepted.

3  Validity: Your quotation should be valid for 90 days or more from the

due date of the enquiry.

4  Entire Bank Charges, if any will be borne by you.

5  Payment: Our terms of payment will be full value to be paid within 30

days from the date of receipt and acceptance of materials at our stores.

6  Price terms: Your quotation should be on the basis of F.O.R

destination Jaduguda/Narwapahar/Turamdih.

7  Taxes:  Specific rates of taxes, octroi, excise duty etc. where

leviable should be shown separately otherwise claim of such levies will

not be entertained later or unless they are newly levied.

8  Quantity:  Quantity or stores indicated herein is approximate only and

the purchaser is not bound to order of the full quantity.If the price

quoted does not apply for part quantity it should be stated so.

9  Samples: Samples, if called for, shall be submitted free of all

charges and the same may not be returned to the tenderer.

10 Delivery:  Supplier located in and around Jamshedpur should quote

F.O.R. delivery at our stores at Jaduguda/Narwapahar/Turamdih.

11 The Purchaser reserves the right to reject any tender without

assigning any reason and the order for less than  the enquired quantity.

12 Purchase preference will be applicable as per Govt. circular in vogue.