## Sheet2
Enq.No. 1/PE180273/1 | [10 empty] | Annexure-4
FORMAT FOR PRICE - BID
Sl.No | Description | Qty | Unit | HSN CODE | Basic Unit Price | GST on basic unit price |  | P&F chgs. (if any per Unit)in % | P&F chgs. Amount in Rs. Per Unit | GST on P&F |  | Freight charges per Unit (if any) | GST on freight |  | Other Charges, if any per unit (Rs.) | GST on other charges |  | Total landed Cost Per unit in (Rs.)
[5 empty] | (in Rs.) | (in %) | (in Rs.) |  | (In Rs.) | (in %) | (in Rs.) |  | (in %) | (in Rs.) | (in Rs.) | (in %) | (in Rs.) | (in fig) | (in words)
1 | TRANSFORMER DIFFERENTIAL RELAY (877)/REF PROTECTION RELAY (64R-HV/LV): TYPE:RET541, RATING : CURRENT RATING1A, VOLTAGE RATING: 110V AC, 50HZ AUX.VOLTAGE : 110V DC, RELAY SHOULD BE SUITABLE FOR RESTRICTED EARTH FAULT TOO, MAKE: ABB | 1 | No
2 | BACK UP PROTECTION RELAY (50,51,67N)/ STAND BY EARTH FAULT RELAY (51INS HV/LV): TYPE:, RATING : CURRENT RATING:1A, VOLTAGE : 110V AC,50 HZ, AUX.VOLTAGE:110V DC, MAKE; ABB | 1 | No
3 | RELAY CASE: TYPE: RHG x20 CASE, SIZE:4 S 60C, MAKE:ABB | 1 | No
Signature of supplier with seal