- INTRODUCTION

Uranium corp. of India limited is a public sector undertaking under deptt. Of Atomic energy, Government of India. The Head office of the UCIL is situated at Jaduguda. Mining of Uranium ore and processing is the main activity of the company. One guest house of the corporation is established at Shillong, Meghalaya (Address: Uranium Corporation of India Ltd., Grand View, Lower New Colony, Laitumkhrah, Shillong – 793003, Ph: Phone: +91-364-2223866, FAX: +91-364-2223860). The current tender is for surveillance system of the Guest House at Shillong, Meghalaya.

UCIL intends to procure CCTV camera with IR night vision for surveillance system of the Shillong guest House. It is proposed to install 4 Bullet camera (IR night vision) with accessories and a 4 channel NVR.

| - SCOPE OF WORK: | Requirement As Per NIT | Bidder Confirmation |
| --- | --- | --- |
| - Scope of Supply. | Supply of CCTV camera with mounting accessories, NVR with surveillance Hard disk (for at least 60 days 24 X 7 backup), Online UPS, Surge protectors, Network switches, Cat-6 cable, IO boxes, patch cords, power supplies etc. as mentioned in Bill of Materials of this tender document.. |  |
|  | Note: All The CCTV Hardware considered shall be Onvif Standard/ Compatiable, documentary evidence of above shall be submitted along the technical specification of the offer |  |
| - Scope of Services | - Erection & commissioning of all items supplied. |  |
|  | - Configuration of NVR, camera and associated devices etc. |  |
|  | - System testing and trial run. |  |
| - Terms & Conditions: |  |  |
| - Special conditions of the Work | - Authorization: Only authorized system integrator of approved make of CCTV (camera & NVR) can participate in the present tender. Authorization copy to be attached along with technical bid. |  |
|  | - Warranty: All supplied item shall be warranted for 24 months from date of commissioning or 30 months from date of supply, which ever is earlier |  |
|  | - SITE INVESTIGATION: The tenderer should satisfy himself as to the nature and location of the work, transportation, disposal, handling and storage of materials, availability of labour, electric power, roads and all other such incidental costs at site. Any failure of the tenderer to acquaint himself with all the available information concerning these conditions will not relieve him of the responsibility of estimating properly, the difficulty or cost of successfully performing the work. |  |
|  | - Bidder shall record specific points related to pre-installation activity that may be required for successful execution. |  |
|  | - ACCOMMODATION : No accommodation will be provided by UCIL for this work. |  |
|  | - Bill of Quantity: Tentative bill of quantity is as mentioned in Price format (Page-12 of this document), however it is bidder responsibility to point out any missing item or services, that may be required for successful completion of the system. |  |
|  | - CLARIFICATION: The bidders are advised to get clarification regarding any confusion / ambiguity regarding the tender from the UCIL before submitting the tender. |  |
| - General | - Bidder shall submit their Permanent Account Number (PAN), Sales Tax Number & Service Tax Number along with ‘Technical Part’ of bids. Failing which their offers shall be rejected. |  |
|  | - SECURITY DEPOSIT: Total amount of security deposit will be 5% of total value of the work. Security deposit is to paid either in cash or Bank Draft, in favor Uranium Corporation of India Limited, payable at State Bank Of India, Jaduguda Branch, Branch Code No. 0227. Successful bidder has to submit security deposit within 30 days after release of purchase order |  |
|  | - The security deposit shall remain at the entire disposal of the company as a security for the satisfactory execution and completion of works in accordance with the conditions of contract. |  |
|  | - No interest shall be payable by the company to the contractor for the amount of Security Deposit |  |
|  | - The company shall be at liberty to deduct any appropriate sum from the security deposit for such completion and dues as may be payable by the contractor under the contract and the appropriation will be made good by further deductions from the contractors subsequent interim bills in the same manner as aforesaid until the security is resorted to is full limit mentioned above. |  |
|  | - COMPLETION TIME: 60 days from placing of LOI/Confirmed purchase order. |  |
|  | - TERMS OF PAYMENT: 100% payment of Order value along with taxes and duties shall be paid within 30 days from successful installation and handing over of the system. |  |
|  | - Income tax shall be deducted as per I.T. Act. Income Tax & Work Contract Tax, if applicable, shall be deducted from your bills. |  |
|  | - Reimbursement for variation in Taxes & Duties: The Contractor will be paid at actual against production of documentary evidence for any variation in statutory taxes, duties etc. or any imposition of new Governmental taxes /duties during the Contract execution etc. period. For this purpose, the bidder indicate clearly in his price bid the details of taxes and duties considered for all those major items for which he intends to claim for such reimbursement |  |
|  | - VALIDITY: Offers shall be valid for 90 days effective from the date of tender opening. |  |
|  | - FIRM PRICE: The Quoted price shall be firm till completion of the Supply/Work. |  |
|  | - ACCEPTANCE OF BIDS: The right is reserved to reject any or all tenders. The lowest tender may not necessarily be accepted. Any tender not supported by the information requested in the tender document will not be accepted. |  |
|  | - NATURE OF TENDER: TWO PART TENDER |  |
|  | - CARE IN SUBMISSION OF TENDER: Before submitting the tender, the tenderer should satisfy himself by actual inspection of the site, approaches, availability of material, camping facilities for his workman etc and that all conditions liable to be encountered during execution of the works are taken in to account and that, the rates accepted are adequate and are inclusive of such conditions. |  |
|  | - PREPARATION OF TENDER: - Before submission of the tender the tenderers are advised to make themselves fully conversant with the conditions of tendering, general conditions, special conditions, site conditions, specifications, schedules, drawings and all other relevant information’s so that no ambiguity may arise in this respect subsequent to the submission of the tender. - It shall be the responsibility of the tenderer to request for any missing document. In absence of any such request the tenderer will be deemed to have received and read all documents. - The tenderer shall submit his tender strictly in accordance with the tender specification and terms and conditions laid down in the tender document. |  |
|  | - Submission and opening of Bids : Tender / quotation / bid shall be submitted in a manner asked strictly in accordance with the tender terms & conditions laid down in the Enquiry / Tender document giving full details necessary for assessing their offer. Contractor shall sign and stamp on each pages of this tender document. Canvassing in any form is strictly prohibited and disqualify the tenderer for the tender submitted for. Tenders will be rejected, if sealed tender envelopes are not super scribed on the top as per instructions given. Tenders will not be received after due date and time. Tenders will not be accepted by Fax. Tenders submitted without earnest money deposit will be summarily rejected. If any of the date under this contract is declared holiday, the event scheduled on that day will be automatically shifted on the next working days. |  |
|  | - Sealed tenders / quotations in duplicate (2 sets, 1 Original and one copy) should be submitted in two parts as given below (or as mentioned in our enquiry letter) to the Competent Authority- UCIL. The above envelopes shall be super scribed on the top as Techno Commercial Bid and E.M.D. and Price Bid respectively with NIT / Enquiry No. & Date / full name of the work / Tender Opening Date / Name & Address of the tenderer |  |
|  | - Bidder has to submit all techno-commercial deviation from the tender in a separate sheet. |  |
|  | - Documents Comprising the Bid: The bid prepared by the bidder shall comprise the following components: - Envelope-I: Super scribing Techno-Commercial / Un-priced Bid (PART-I) - Part-I: Techno-commercial / Un-priced Bid (to be furnished in duplicate (1original and 1copy) and shall contain the following: - Tenderer’s covering letter with details of the product offered. - Technical specification of the offered product highlighting the points that are fulfilling the tender specification. - Technical leaflets, manuals of the product offered. - Bidders are required to submit copy of PAN Card. - Copy of Service Tax Registration Certificate, Sales Tax - Statement /copies regarding previous experience and present status mentioning the value of work in detail, list of technical personnel, and other equipments,. Note: All pages of the offer to be signed and sealed by authorized person of the bidder. - Envelope-II: Super scribing “Price Bid - PART-II” - Part-II: Price Bid should contain only the Rates (One original & one copy) as per price format placed in this document duly filled in (and NO terms and conditions or any attachments and annexure should be put in Priced Bid) super scribing on the sealed envelope “Price Bid – Do Not Open”. Please avoid corrections/over writings. In case of any correction, the bidders shall put their full signature and stamp. - Finally both envelope shall be inserted into a third cover. And this third envelop shall also be sealed and properly superscribed as Name of the work on the top with Tender/Enquiry Number & Date / Tender Opening Date/ Name and Address of the Tenderer, etc. The tenders after receipt shall be opened on the stipulated date and as mentioned in the enquiry |  |
|  | - Rates in Words & Figures: - In case of item rate tenders, only rates quoted shall be considered. - Rates shall be filled properly so that there is no discrepancy in rates written in figure and words. However, if a discrepancy is found, the rates which correspond with the amount worked out by the contractor shall unless otherwise proved be taken as correct. If the amount of an item is not worked out by the contractor or it does not correspond with the rates written either in figure or in words then the rates quoted by the contractor in words shall be taken as correct. - Where the rates quoted by the contractor in figure and in words tally but the amount is not worked out correctly, the rate quoted by the contractor will unless otherwise proved be taken as correct and not the amount. In event no rate has been quoted for any item (s) then rate for such item (s) will be considered as zero. |  |
|  | - The bid shall contain no alterations, omissions, or additions, unless such corrections are initialed by the person or persons signing the bid. |  |
|  | - Tax & Duties:- The quoted rate should be inclusive of all taxes and duties including service tax, if applicable. Hence, no other taxes, duties and royalty, etc. would be paid extra. However The Contractor will be paid at actual against production of documentary evidence for any variation in statutory taxes, duties etc. or any imposition of new Governmental taxes /duties during the Contract execution etc. period. For this purpose, the bidder should indicate clearly in his price bid the details of taxes and duties considered for all those major items for which he intends to claim for such reimbursement |  |
|  | - Award of Contract - Award : UCIL will award the contract to the successful bidder whose bid has been determined to be substantially responsive and has been determined as the lowest, is determined to be qualified to satisfactorily perform the contract. - Decision of L1 bidder: Total amount (cost of supply and services) as mentioned in the price part (page-12) of this document will be deciding factor for determination of L-1 bidder. - UCIL’s Right to Accept Any Bid and to Reject Any or All Bids: UCIL reserves the right to accept or reject any bid, and to cancel the bidding process and reject all bids, at any time prior to award of contract, without thereby incurring any liability to the affected bidder or bidders or any obligations to inform the affected bidder or bidders of the ground for UCIL’S ACTION. - Notification of Award : Prior to the expiration of period of bid validity UCIL will notify the successful bidder in writing by fax, E-mail to be confirmed in writing, that his bid has been accepted. The notification of award / Fax of Intent will constitute the formation of the Contract. - Time Period shall be counted from the date of Notification of Award / Fax of Intent / Letter of Intent, or as mentioned in LOI / LOA. |  |
|  | - Tools and Tackles: All tools and tackles required for completion of this work shall be arranged by the contactor. |  |
|  | - SITE UPKEEP : The Contractor shall ensure the upkeep of the working site from time to time for access to work site and also from safety point of view. Working site should always be kept neat & tidy up to the entire satisfactions of the EIC. Before handing over any work to owner, the contractor in addition to other formalities to be observed as detailed in the documents shall clear the site to the entire satisfaction of EIC. |  |
|  | - COMPLIANCE WITH STATUTORY LAWS : The Contractor shall abide by all applicable rules, regulations, statutes, laws governing the performance of works, including but not limited to the following: - Contract Labour (Regulation & Abolition) Act 1970 - Payment of Wages Act. 1936, - Minimum Wages Act 1948, - Factory Act. - Apprentices Act. - Workman’s Compensation Act. - Industrial Dispute Act. - Environment Protection Act. - Wild life Act. - Maritime Act. - Service Tax Act - EPF & Misc. Provisions Act 1952 - ESI Act, 1948 & Worker Compensation Act, 1923 - Inter–state Migrant workmen(Regulation of employment & Conditions of Service) Act1979 - Payment of Bonus Act, 1965 - Any other Statute, Act, Law as may be applicable for establishing, maintaining, running of process plant. |  |
|  | - MOBILIZATION ADVANCES: Not applicable in this tender. |  |
|  | - On arrival of material at site, the Contractor shall open the packing, cases, inspect the materials. Repair and replacement of material damaged or lost in transmit or at site should be done promptly. |  |
|  | - STORAGE: Space for storage of tools will be provided by UCIL. However UCIL will not be responsible for theft, damage of the contractor’s tools since maintenance is involved; the contractor has to ensure the availability of basic maintenance materials and tools for day to day use. While bringing the material the contractor has to give one copy of the list of material he is bringing inside the UCIL premises. All materials shall be stored as to prevent deterioration or contamination by foreign matter and to ensure the preservation of their quality and fitness for the work. If the storage arrangement is not to the UCIL satisfaction the UCIL may direct the tenderer to make such arrangement as he considers necessary and in the event of non-compliance, he would reserve the right to make proper arrangements departmentally or through other agencies at tenderers risk and cost. |  |
|  | - During erection, testing and commissioning, the Contractor shall be responsible for adequate training of the Purchaser’s personnel so as to enable them to carry out operation and maintenance of the system under specification. |  |
|  | - SUB-CONTRACTS: The Tenderer shall not sub contract the whole or any part of the work. |  |
|  | - TERMINATION OF CONTRACTS: UCIL may without prejudice to any other remedy for breach of contract by written notice of default same to the contractor, terminate the contract in whole or in part: - If the contractor fails to deliver the material /any or all the services within the time period(s) & quality specified in contract. - If the contractor fails to perform any other obligation under the contract or - If the contractor in either of the above circumstance does not take remedial action for its failure within a period of 30 days after receipt of default notice from UCIL. - FORECLOSURE OF CONTRACT: If at any time after acceptance of the tender / during execution of Contractor work, the UCIL decides to abandon or reduce the scope of the works for any reason whatsoever and hence not require the whole or any part of the works to be carried out, the UCIL shall give notice in writing to that effect to the contractor and the contractor shall not claim to any payment of compensation or otherwise whatsoever, on account of any profit or advantage which he might have derived from the execution of the work in full but which he did not derive in consequence of the foreclosure of the whole or part of the work. The contractor shall be paid at contract rates for the work carried out and amount as certified by the UCIL, but not more than the amount proportionate to the value of balance work. |  |
|  | - ABANDONMENT OF WORK: In case work is abandoned by the contractor and UCIL is put to the loss by issuing another contract for left out scope of work originally awarded, the Contractor shall pay to UCIL, the difference in the amount of the actual contract value awarded to the new Contractor for the left out work and the amount which would have been paid to him had he not abandoned the work. |  |
|  | - Defect Liability: As soon as the work have been completed in accordance with the contract and handed over to UCIL after completion of performance and other tests relevant thereof, UCIL will take over the System from the Contractor and will issue a taking over certificate, certifying date on which the works have been completed. The System shall be guaranteed for any defects, malfunctioning, poor performance, non-attainment of capacity, for a period of 24 months from date of issue of taking over certificate. |  |
|  | - Delay in Completion: If the Contractor fails to complete the works and tests within the time of completion the Purchaser shall be entitled to impose liquidated damage a sum @1/2% of contract sum for each complete week between the time for completion and actual date of completion, maximum up to 05% of the contract value. |  |
|  | - Total Liability: : The maximum limits for liability for performance is 10% of total contract value, for liquidated damage 05% of the total contract value and total liabilities on these two accounts combined to maximum 10% of total contract value. |  |
|  | - FORCE MAJEURE: The term “Force Majeure” is defined as follows: Any delay in the execution of works either directly or indirectly by any cause beyond the control of the Contractor and in particular, but without prejudice to the generally of the strikes, concerted action of workman, lockouts, fire, storms, floods, earthquake, riots, lightning or any other act of nature, war whether declared or not, insurrection, restraints imposed by the Government or Governments, Legislature or any other proper authority. |  |
|  | - IDLE CLAIM: No claims will be entertained on account of idle work force, labour, manufacturing facility and machinery, stoppage of work, unprecedented rains, storm or any other unforeseen circumstances. |  |
|  | - SETTLEMENT OF DISPUTE BY ARBITRATION: All disputes arising during the execution of work or after the completion or abandonment thereof shall be referred to the sole arbitration of person appointed by the UCIL. - LABOUR: The contractor shall employ labour in sufficient numbers to maintain the required rate of progress and of quality to ensure workmanship. The contractor should not employ in connection with the works any person who has not completed 18 years of age. |  |
|  | - SAFETY MEASURES: To avoid possible accidents to staff and labour employed on this job, it is imperative to observe the safety practices specified by the corporation and these shall be strictly followed. |  |
|  | - The tenderer shall be responsible for the observance and implementation of all safety precautions during execution of job in the plant. The tenderer shall comply with all applicable provisions of safety regulations and other precautionary measures, which the UCIL has in effect at the site. |  |
|  | - The tenderer shall use his best endeavors to ensure that such information are not divulged to third parties except where needed for the performance of the contract by the tenderer with the prior consent of the UCIL. In such cases, the tenderer shall ensure and obtain similar obligation of confidence from third parties in question. No photographs of the work or plant within the site premises shall be taken without the prior approval of the UCIL. |  |

- TECHNICAL SPECIFICATION :

  - Fixed IR Bullet Camera:

| Sl. No. | Features | Description | Bidder Confirmation |
| --- | --- | --- | --- |
| 1 | Image Device | 1/3 type progressive scan |  |
| 2 | Day/ Night | Feature Should be available |  |
| 3 | No. of effective pixels ( H x V ) | 2.0 mega pixel or better |  |
| 4 | White Balance Mode | Auto , Preset, One-push WB, Manual (features should be available) |  |
| 5 | Zoom ratio | Should be 2.7x or better |  |
| 6 | Horizontal Viewing angle | Minimum 34-89 degrees |  |
| 7 | Focal length | Minimum 2.8-12mm |  |
| 8 | Night Vision & IR Illumination | Maximum 50Mtr Night Vision with long range illumination Required |  |
| 9 | Codec Image Size ( H x V ) | 1280x1024, 1280x800, 1280x720, 1024x768 main stream supportable |  |
| 10 | Video Compression format | Should be H.264 or MPEG-4 |  |
| 11 | Maximum frame rate | 1080P,960P,720P@25fps supportable |  |
| 12 | Streaming Level | Minimum 2 in Adjustable mode |  |
| 13 | Bit Rate | Not More Than 50k - 8 Mbps |  |
| 14 | Ethernet Interface | 10-BASE-T./100-BASE-Tx (RJ 45 port) |  |
| 15 | Supporting protocol | TCP/IP, HTTP, RTSP, FTP, PPPoE, DDNS, NTP, uPnP |  |
| 16 | Onvif Compatible | ONVIF 2.0 Complaint |  |
| 17 | Working Temp. | -10°C ~+50°C |  |
| 18 | Power requirements | PoE Comptaible, DC12V |  |
| 19 | Mounting Bracket | Wall Mounting bracket shall be included |  |

  - Network Switch

| Sl. No. | Features | Description | Bidder Confirmation |
| --- | --- | --- | --- |
| 1 | Ports | a) 8 RJ 45 Connector ports for 10 Base-T/100Base-Tx |  |
| 2 | Cabling Type | UTP CAT 5 or Better for 10Base-T/100Base-TX |  |
| 3 | LEDs | Link/Act, Speed, System |  |
| 4 | Port Standards | IEEE 802.3 10BASE-T Ethernet (twisted-pair copper) |  |
|  |  | IEEE 802.3u 100BASE-TX Fast Ethernet (twisted-pair copper) |  |
|  |  | Auto-negotiation |  |
|  |  | IEEE 802.3x Flow Control |  |
| 5 | PoE Standard | 802.3 af |  |
| 6 | PoE capable ports | Port 1-8 upto 15.4 watts per port |  |
| 7 | PoE Power Budget | 72 watts |  |
| 8 | Media Interface Exchange | Configurable MDI/MDX |  |
| 9 | Switching Capacity | 1.6 Gbps |  |
| 10 | Transmission Method | Store-and-forward |  |
| 11 | MAC Address Table | 8K entries per device |  |
| 12 | Maximum 64 bytes packet forwarding rate | 1.19 Mpps |  |
| 13 | Flash Memory | 16 MB |  |
| 14 | AC Input | 100 to 240 VAC 50/60Hz internal universal power supply |  |
| 15 | Maximum Power Consumption | 89.4 Watts (PoE ON) |  |
|  |  | 9.7 Watts ( PoE OFF) |  |
| 16 | Heat Dissipation | 305.03 BTU per hour |  |
| 17 | Operating Temperature | 0˚ to 40˚ C |  |
| 18 | Operating Humidity | 10% to 95% non-condensing |  |
| 19 | Type | Desktop type, Metal Case |  |

  - NVR 4 Channel

| Sl. No. | Features | Description | Bidder Confirmation |
| --- | --- | --- | --- |
| 1 | Type of NVR | Shall be on Embedded operation system |  |
| 2 | Operation mode | Previews ,Records ,Playback ,Back Up, Network |  |
| 3 | Number of Video input | 4 Channels of 1080P/960P/720P |  |
| 4 | Compression Method | Must be in H.264 / MPEG-4/ MJPEG |  |
| 5 | Recording Resolution | Programmable among 1080P@30fps, 720@30fps and other supported resolution |  |
| 6 | Recording Mode | Boot ,Timing ,Motion Detection |  |
| 7 | Password security | 2 Levels , Admin+ Users |  |
| 8 | Video Motion Detection & Recording Configuration | Independent Channel configuration |  |
| 9 | Main Video Out | At least 1 VGA, 1 HDMI |  |
| 10 | Display windows: | 1 / 4 (Single / Quad window mode) |  |
| 11 | Dual Stream | Every channel should support 2 adjustable stream |  |
| 12 | Audio Input | 4 Channel input |  |
| 13 | Audio Output | 1 Channel output |  |
| 14 | Alarm Input | Minimum 4 input |  |
| 15 | Alarm Output | 1 output shall be provided |  |
| 16 | Play backup | Support Simultaneously 4 channel |  |
| 17 | Min. Internal HDD supported (TB) | 2 internal hard disks (storage capacity: 2TB each) |  |
| 18 | Internal HDD Interface | SATA HDD interface, support min. 2 HDDs |  |
| 19 | Backup | Automatic Scheduled backup |  |
| 20 | Backup Storage Media | Backup through USB or network |  |
| 21 | Network Port | 1no. of self-adaptive RJ45 Port 10M/100M/1000M |  |
| 22 | Backup Interface | Internal/External shall provided |  |
| 23 | Scheduled Backup | Programmable |  |
| 24 | PTZ Connectivity | Supports multi PTZ protocols |  |
| 25 | Remote Access Software | To be supplied along with equipment |  |
| 26 | Web Browsing | IE, google-Crome, Mozilla browsers supported |  |

  - Online UPS 2KVA Capacity:

| Sl. No. | Features | Description | Bidder Confirmation |
| --- | --- | --- | --- |
| 1 | Capacity | 2 KVA |  |
| 2 | Nominal Output Voltage | 230V, Single Phase, 50Hz |  |
| 3 | Nominal Input Voltage | 230V, Single Phase, 50 Hz |  |
| 4 | Output power factor | 0.9 |  |
| 5 | Inverter & Rectifier | IGBT Based |  |
| 6 | Isolation transformer | Inbuilt |  |
| 7 | Battery type | SMF Battery |  |
| 8 | Battery backup time on full load | 30 min. |  |
| 9 | Certification | IEC 62040-1- 2 , IEC 62040-2, IEC 62040 - 3 |  |

- Acceptable Make:

| Camera, NVR | : | Bosch, Honeywell, Samsung, Hikvision, Alcon, CP-Plus |
| --- | --- | --- |
| UPS | : | Emerson, APC, Hirel, Eaton |
| CCTV Monitor | : | Bosch, Samsung, Honeywell, Hikvision, Alcon, CP-Plus |
| Network switch, Cables, IO Boxes | : | Dlink, Digilink, Molex, Cisco, |
| Surge protector | : | MTL, Phoenix contact, Eaton, Dehn |

- Make & Model Confirmation:

| Sl. No. | Name of Item | Qty. | Make | Model |
| --- | --- | --- | --- | --- |
| 1 | 2.0 Mega Pixel Fixed Bullet Camera | 4 |  |  |
| 2 | 4 Channel NVR | 1 |  |  |
| 3 | 2 TB Survillance Hard Disk | 2 |  |  |
| 4 | 22" CCTV Display | 1 |  |  |
| 5 | 8 Port Network switch with PoE feature | 1 |  |  |
| 6 | CAT VI Cable | 305 |  |  |
| 7 | IO Box with face plate, Keystone, back plate | 6 |  |  |
| 8 | UPS 2.0 KVA, with battery | 1 |  |  |
| 9 | Surge Protection for Camera | 4 |  |  |
| 10 | Flexible pipe for cable laying | 100 mtr |  |  |

Note to bidder:

    - Bidder shall  point out any missing item or services, that may be required for successful completion of the system.

    - If bidder fails to point out any such item/ services not mentioned in price part and may be required for successful completion of system, bidder has to supply the item/services free of cost.