## 2-PE181600-1
Annexure: A for PE# 2/PE190254/1
Sl.No. | Material Code | Material Description | Qnty | Unit
Different types of Calibration Standard for Multiparameter Portable Meter; Model No: PCD650; Sr.No: 486680; Make: EUTECH :-
1 | 300033008001 | IONIC STRENGTH ADJUSTER: CALIBRATION ISA- ECISACL1BT | 1 | No.
2 | 300033008002 | IONIC STRENGTH ADJUSTER: CHLORIDE REF ELECTROLYTE;ECRECL 1*60ML BOTTLE | 1 | No.
3 | 300033008003 | EUTECH LOW LEVEL TOTAL IONIC STRENGTH ADJUSTER: CALIBRATION ISA - ECISAFL1BT SHOULD BE USED WHEN MEASURING IN SAMPLE CONTAINING LESS THAN 2 X 10-5 m (0.4PPM)FLUORIDE. | 1 | No.
4 | 300033008004 | CALIBRATION STANDARDS FOR FLUORIDE: CALIBRATION ISA - ECISAFL2BT | 1 | No.
5 | 300033008005 | CALIBRATION STANDARDS FOR FLUORIDE: FLUORIDE REF ELECTROLYTE 1*60ML BOTT;ECREFL | 1 | No.
6 | 300033008006 | IONIC STRENGTH ADJUSTER: CALIBRATION ISA -ECISAKO1BT | 1 | No.
7 | 300033008007 | IONIC STRENGTH ADJUSTER: POTASSIUM REF ELECTOLYTE;ECREPOT;1*60ML BOTT | 1 | No.
8 | 300033008008 | IONIC STRENGTH ADJUSTER: CALIBRATION ISA- ECISAAM1BT | 1 | No.
9 | 300033008009 | IONIC STRENGTH ADJUSTER: AMMONIUM ISE REF ELECTROLYTE;ECREAM;1*60ML BOTT | 1 | No.
10 | 300033008761 | CALIBRATION SOLUTION: QUINHYDRONE 255MV- ECORPQUIN;480ml solution bottle | 1 | No.
11 | 300033008762 | CALIBRATION SOLUTION: QUINHYDRONE 86MV- ECORPQUIN086;480ml solution bottle | 1 | No.
12 | 300033008763 | PH BUFFER SOLUTION: PH 1.68 BUFFER- ECBU1BT -480ML | 1 | No.
13 | 300033008764 | PH BUFFER SOLUTION: PH 4.01 BUFFER- ECBU4BT -480ML | 1 | No.
14 | 300033008765 | PH BUFFER SOLUTION: PH 7.00 BUFFER- ECBU7BT -480ML | 1 | No.
15 | 300033008766 | PH BUFFER SOLUTION: PH 10.01 BUFFER- ECBU10BT- 480ML | 1 | No.
16 | 300033008767 | PH BUFFER SOLUTION: PH 12.45 BUFFER- ECBU12BT-480ML | 1 | No.
17 | 300033008768 | CONDUCTIVITY SOLUTION: 100 US KCL- ECCON100BT;480 ML | 1 | No.
18 | 300033008769 | CONDUCTIVITY SOLUTION: 500 US KCL- ECCON500BT;480ML | 1 | No.
19 | 300033008770 | CONDUCTIVITY SOLUTION: 1413 US KCL- ECCON1413BT;480ML | 1 | No.
20 | 300033008771 | CONDUCTIVITY SOLUTION: 2764 US KCL- ECCON2764BT;480ML | 1 | No.
21 | 300033008772 | CONDUCTIVITY SOLUTION: 5.0 MS KCL- ECCON5000BT;480ML | 1 | No.
22 | 300033008773 | CONDUCTIVITY SOLUTION: 12.88 MS KCL- ECCON1288BT;480ML | 1 | No.
23 | 300033008774 | CONDUCTIVITY SOLUTION: 111.8 MS KCL- ECCON1118BT;480ML | 1 | No.
24 | 300033008775 | TDS SOLUTIONS: 50 PPM- EC44250BT - 480ML | 1 | No.
25 | 300033008776 | TDS SOLUTIONS: 300 PPM- EC442300BT - 480ML | 1 | No.
26 | 300033008777 | TDS SOLUTIONS: 1000 PPM- EC4421000BT - 480ML | 1 | No.
27 | 300033008778 | TDS SOLUTIONS: 3000 PPM- EC4423000BT - 480ML | 1 | No.
28 | 300033008779 | CALIBRATION STANDARDS FOR NITRATE: STABDARD 0.1 M;ECSCSNT1BT | 1 | No.
29 | 300033008780 | CALIBRATION STANDARDS FOR NITRATE:STABDARD 1000PPM;ECSCSNT2BT | 1 | No.
30 | 300033008781 | CALIBRATION STANDARDS FOR NITRATE: STABDARD 100PPM;ECSCSNT3BT | 1 | No.
31 | 300033008782 | CALIBRATION STANDARDS FOR CHLORIDE: STABDARD 0.1 M;ECSCSCL1BT | 1 | No.
32 | 300033008783 | CALIBRATION STANDARD FOR CHLORIDE:STABDARD 1000PPM;ECSCSCL2BT | 1 | No.
33 | 300033008784 | CALIBRATION STANDARD FOR CHLORIDE: STABDARD 100PPM;ECSCSCL3BT | 1 | No.
34 | 300033008785 | CALIBRATION STANDARDS FOR FLUORIDE: STABDARD 0.1 M;ECSCSFL1BT | 1 | No.
35 | 300033008786 | CALIBRATION STANDARD FOR FLUORIDE:STABDARD 1000PPM;ECSCSFL2BT | 1 | No.
36 | 300033008787 | CALIBRATION STANDARD FOR FLUORIDE: STABDARD 100PPM;ECSCSFL3BT | 1 | No.
37 | 300033008788 | CALIBRATION STANDARD FOR POTASSIUM:STABDARD 0.1M;ECSCSKO1BT | 1 | No.
38 | 300033008789 | CALIBRATION STANDARD FOR POTASSIUM:STABDARD1000PPM;ECSCSKO2BT | 1 | No.
39 | 300033008790 | CALIBRATION STANDARD FOR AMMONIUM: STABDARD 0.1 M;ECSCSAM1BT | 1 | No.
40 | 300033008791 | CALIBRATION STANDARD FOR AMMONIUM: STABDARD1000PPM;ECSCSAM2BT | 1 | No.
41 | 300033008792 | CALIBRATION STANDARD FOR AMMONIUM: STABDARD 100PPM;ECSCSAM3BT | 1 | No.
1. Bidder Should submit their offer as per terms & conditions given under Annexure 1, 2 & 3[ANNEXURE -1(Pre –Qualification Part) ,ANNEXURE-2(Technocommercial Cum Price Part) & Annexure -3 (Pre-Qualification Criteria)]
2.Please do not send your offer in hard copy. Bidder should submit their offer through our website i.e. www.uraniumcorp.in or www.tenderwizard.com/UCILEPROC only.
(Akhil Raj)
Dy. Supdt (Mech/Purchase)