URANIUM CORPORATION OF INDIA LIMITED     Phone : (0657)2730122

2730222

(A Government of India Enterprise)                    2730353

P.O.Jaduguda Mines,Jharkhand-832102      Fax  :(0657) 2730322

Email: : jadpur@ucil.gov.in          (0657) 2731332

Limited Enquiry

To,---------------------------+-----------------------------------

----------------------------+---QUOTE THIS REFERENCE ON THE COVER

Dear Sir,                      !

Kindly submit your q!otation made out as per instruction

overleaf for the supply of stor!s detailed below. The quotation

should be posted to the "Purcha!e DepDateent" at the above address

to reach before the due date.  !

!     Due Date          16/03/2017

----+-----------------------+--------------------------+--------

Sl.No. !         DESCRIPTION OF!STORES                    ! QUANTITY

----+--------------------------------------------------+--------

1   !   HDPE Pipe 90mm OD Greade PE-100 made of 100%   !200 Mtr

!   Virgin raw materials confirming to IS          !

!   4984/1995, Wr. Pre. 10Kg/cm2 Wall Thick 6.7    !

!   to 7.6mm, Pipe should be welded with 02 Nos    !

!   of long neck pipe ends at both end &           !

!   provided with 02 nos loose MF Slipon Flange    !

!   In 25 Mtrs Coil Make: Time Technoplast /       !

!   Oriplast                                       !

!   1.Bidder Should submit their offer as per      !

!   terms & conditions given under Annexure 1, 2   !

!   & 3[ANNEXURE -1(Pre -Qualification Part),      !

!   ANNEXURE-2(Techno-commercial Cum Price Part)   !

!   & Annexure -3 (Pre-Qualification Criteria)]    !

!   ()                                             !

!                                                  !

!                                                  !

!                                                  !

---------------------------------------------------------------

Yours faithfully

For URANIUM CORPORATION OF INDIA LIMITED

Enclosures                                    S N KUMAR

Dy. Controller of S&P

INSTRUCTIONS

1   Please quote your rate in figure and word without overwriting /

cutting and submit your sealed offer in duplicate for consideration duly

super scribed with tender reference no., due date and bidder name and

address.

2  FAX/ e-MAIL offer will not be accepted.

3  Validity: Your quotation should be valid for 90 days or more from the

due date of the enquiry.

4  Entire Bank Charges, if any will be borne by you.

5  Payment: Our terms of payment will be full value to be paid within 30

days from the date of receipt and acceptance of materials at our stores.

6  Price terms: Your quotation should be on the basis of F.O.R

destination Jaduguda/Narwapahar/Turamdih.

7  Taxes:  Specific rates of taxes, octroi, excise duty etc. where

leviable should be shown separately otherwise claim of such levies will

not be entertained later or unless they are newly levied.

8  Quantity:  Quantity or stores indicated herein is approximate only and

the purchaser is not bound to order of the full quantity.If the price

quoted does not apply for part quantity it should be stated so.

9  Samples: Samples, if called for, shall be submitted free of all

charges and the same may not be returned to the tenderer.

10 Delivery:  Supplier located in and around Jamshedpur should quote

F.O.R. delivery at our stores at Jaduguda/Narwapahar/Turamdih.

11 The Purchaser reserves the right to reject any tender without

assigning any reason and the order for less than  the enquired quantity.

12 Purchase preference will be applicable as per Govt. circular in vogue.