## 1-PE180304-1
Annexure for PE# 1/PE180304/1
Annexure-4
Sl# | Material Description | Quantity | Unit
1 | POWER CONTACTOR : ML-4 CV-440V AC MAKE : L&T | 1 | No.
2 | SPARE COIL FOR ML CONTACTOR : CAT NO. SS91258 MAKE : L&T | 2 | No.
3 | SPARE COIL FOR ML CONTACTOR : CAT NO. SS90545 MAKE : L&T | 2 | No.
4 | RELAY WITH HOLDER 11 PIN THREE POLE COIL: 2-10 NC: 4-7-8 NO: 3-5-9 COMM: 1-6-11 VOLT : 12V DC MAKE : PLA | 6 | No.
5 | RELAY WITH HOLDER 11 PIN THREE POLE COIL: 2-10 NC: 4-7-8 NO: 3-5-9 COMM: 1-6-11 VOLT : 24V DC MAKE : PLA | 6 | No.
6 | RELAY WITH HOLDER 8 PIN TWO POLE COIL: 1-8 NC: 4-5 NO: 3-6 COMM: 2-7 VOLT : 12V DC MAKE : PLA | 3 | No.
7 | BIMETAL OVERLOAD RELAY DIRECT CONTACTOR MOUNTING FOR ML CONTACTOR RANGE : (20-32) AMP MAKE L&T | 5 | No.
8 | OVER LOAD RELAY TYPE : MN2 SETTING RANGE : (0.9-1.5)AMP MAKE : L&T | 2 | No.
9 | BIMETAL OVERLOAD RELAY DIRECT CONTACTOR MOUNTING RANGE : (45-75) AMP MAKE : L&T | 2 | No.
10 | BIMETAL OVERLOAD RELAY DIRECT CONTACTOR MOUNTING FOR ML CONTACTOR RANGE : (28-42)AMP MAKE L&T | 5 | No.
11 | BIMETAL OVERLOAD RELAY DIRECT CONTACTOR MOUNTING RANGE : (66-110)AMP MAKE L&T | 2 | No.
12 | RELAY WITH HOLDER 08 PIN TWO POLE COIL 2-7 NC:4-5 NO: 3-6 COMM: 1.8 RELAY VOLT : 220V MAKE : PLA | 4 | No.
13 | RELAY WITH HOLDER 11 PIN THREE POLE COIL 2-10 NC:4-7-8 NO: 3-5-9 COMM: 1.6-11 VOLT : 24V DC MAKE : PLA | 6 | No.
Praveen Kumar Pal
Addl.Controller(S&P)